SECTION 08950

40MM LUMIWALL VERTICAL TRANSLUCENT PANEL SYSTEM

PART 1-GENERAL

  - SUMMARY

- This section includes the following:

  - Vertical wall system glazed with 40mm translucent multiwall polycarbonate interlocking panels.

  - Section 08840 – Translucent Plastic Glazing.

- Related Sections:  The following sections contain requirements that relate to this section:

  - Division Six Section “Rough Carpentry” for wood curbs and nailers.

  - Division Seven Section “Flashing and Sheet Metal” for metal flashing.

  - Division Eight Section “Aluminum Entrances and Storefronts”.

  - PERFORMANCE REQUIREMENTS

- General:  Provide framing system and glazing capable of withstanding loads as defined by the local codes having jurisdiction where units are to be installed without failure. Failure includes the following:

  - Thermal stresses transferred to the building structure.

  - Framing members transferring stresses, including those caused by thermal and structural movement, to glazing.

  - Weakening of fasteners, attachments, and other components.

- Deflection Limits:  Maximum calculated deflection of any framing member in direction normal to plane of wall when subjected to specified design pressures shall be limited to l/100 of its clear span.

- Water Infiltration: No uncontrolled leakage when tested in accordance with ASTM E331 at a test pressure of 7.52 psf.

- Air Infiltration: Air leakage shall not exceed 0.10 cfm per square foot of surface area when tested in accordance with ASTM E283 at differential static pressure of 1.57 psf.

- Testing: Provide framing systems that have been previously tested by an independent testing laboratory.

- Thermal Performance: Provide full system NFRC certified performance as follows:

  - Clear IR panel:	U-factor = 0.27, SHGC = 0.31, VT = 35%

  - Clear UV Matte:  U-factor = 0.27, SHGC = 0.41, VT = 41%

  - Opal IR panel:	U-factor = 0.28, SHGC = 0.21, VT = 22%

  - Opal		U-factor = 0.30, SHGC = 0.33, VT = 25%

- System Design: Provide framing system designed to accept a 40mm multiwall polycarbonate interlocking UV protected panel.

1.3   SUBMITTALS

- Product Data Sheet:  Provide product data, include details of construction and installation, relative to applicable configuration.

- Samples for Selection:  Manufacturer’s color charts showing a full range of colors available for each type of glazing and aluminum finish.

  - WARRANTY

- General:  Warranties specified in this section shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and shall be in addition to and run concurrent with other warranties made by the Contractor under requirements of the Contract Documents.

- System Warranty:  Provide written warranty signed by manufacturer, agreeing to repair or replace work that exhibits defects in materials or workmanship and guaranteeing weather-tight and leak-free performance.  “Defects” is defined as uncontrolled leakage of water and abnormal aging or deterioration.

  - Warranty Period:  10 years from date of Substantial Completion.

- Plastic Warranty:  Provide written warranty signed by manufacturer agreeing to repair or replace work that has or develops defects in the plastic.  “Defects” is defined as abnormal aging or deterioration.

  - Warranty Period for polycarbonate:  10 years from date of Substantial Completion against yellowing.

- Finish Warranty:  Provide written warranty signed by manufacturer agreeing to repair or replace work with finish defects.  “Defects” is defined as peeling, chipping, chalking, fading, abnormal aging or deterioration, and failure to perform as required.  (EDIT AS REQUIRED)

  - Warranty Period for Anodized Finish:  1 year from date of Substantial Completion.

  - Warranty Period for Powder Coat Finish:  5 years from date of Substantial Completion.

  - Warranty Period for Kynar 500 Finish:  5 years from date of Substantial Completion. (10 and 20 years available if specified)

PART 2- PRODUCTS

  - MANUFACTURERS

- Manufacturers:  Subject to compliance with requirements, provide products by Wasco Skylights part of the Velux Group, Wells, ME (800-388-0293).

- Substitutions:  Manufactures shall not be considered without prior approval in writing no later than ten (10) calendar days prior to bid.  Substitute manufacturers must have been in the vertical wall business for not less than a period of 15 years and must submit to the Architect the following:

  - List of similar projects successfully completed within the last five years.

  - Proof of financial capability.

  - Complete details of proposed wall system.

  - Complete specifications for Architect’s review.

  - MATERIALS

- Framing System:  Extruded aluminum alloy 6063-T5 (min.) ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.080 inches. Provide integral condensation weep system into factory supplied sub sill extrusion.

- Retainer Frame:  Extruded aluminum alloy 6063-T5 (min).  ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.060 inches.

- Subsill Extrusion:  Extruded aluminum alloy 6063-T5 (min.) ASTM B 221 (ASTM B 221 M) with minimum effective thickness of 0.080 inches. Provide weep drainage provision to the exterior.

- Polycarbonate Sheet - General:  Comply with ANSI Z 97.1 and with properties as follows:

      - Tensile strength, yield:  8,500-10,200 psi (58.6-70 Mpa), in accordance with ASTM D 638.

      - Tensile strength, ultimate:  7,830-10,400 psi (54-72 Mpa), in accordance with ASTM D 638.

      - Tensile modulus: 232-348 ksi (1.6-2.4 GPa), in accordance with ASTM D 638.

      - Flexural yield strength: 10,900-16,000 psi (75-110 Mpa), in accordance with ASTM D 790.

      - Flexural modulus: 261-600 ksi (1.8-4.134 GPa), in accordance with ASTM D 790.

      - Izod impact strength (0.125 inch notched):  .937-18.3 ft lb/in/in (0.5-9.77 J/cm) of notch, in accordance with ASTM D 256.

      - Self-ignition temperature: 986 degrees F (530 degrees C), in accordance with ASTM D 1929.

      - Horizontal Burn Rate for Light Transmitting Plastic is CC-1 with extent of burn 1 inch (25.4 mm) or less per ASTM D635. (Gallina Sheets of 1/4inch (6 mm), 5/16inch (8 mm), 3/8inch (10 mm) and 5/8inch (16 mm) thicknesses are classified CC-1.

      - Smoke density rating of less than 450 when tested in accordance with ASTM E 84.

- Provide modular, tongue and groove, translucent multiwall polycarbonate panels as follows:

- Seven Wall U.V. protected panel: ArcoPlus 547

- Thickness/U-Factor:  40mm (1-1/2”) nominal thickness. U-Factor 0.188.

- Color: Clear IR (VT: 35%) (EDIT COLORS AS REQUIRED)

- Color: Opal IR (VT: 22%)

- Color: Opal (VT: 25%)

- Color: Clear UV Matte (VT: 41%)

- Other colors available, please contact manufacturer.

- Thermal Break: Fabricate frame with poured and de-bridged polyurethane thermal breaks separating interior metal framing from materials exposed to outside temperature.

- Fasteners:  Same metal as metals being fastened, or nonmagnetic stainless steel or other non-corrosive metal as recommended by Wasco Products, Inc.

  - FABRICATION

- Framing Components:  As follows:

  - Fabricate components that, when assembled, will have accurately fitted joints with ends coped or mitered to produce hairline joints free of burrs and distortion.

  - Fabricate components to drain water passing joints and to drain condensation and moisture occurring or migrating within wall system to the exterior.

  - Fabricate components to accommodate expansion, contraction, and field adjustment, and to provide for minimum clearance and shimming at perimeter.

  - Form shapes with sharp profiles, straight and free of defects or deformations, before finishing.

  - ALUMINUM FINISHES (EDIT AS REQUIRED)

- General:  Comply with NAAMM “Metal Finishes Manual” recommendations for application and designations of finishes.

- Finish designations prefixed by AA conform to the system for designations of aluminum finishes established by the Aluminum Association.

  - Mill Finish:  Manufacturer’s standard mill finish.

  - Clear-Anodized Finish, Class I:  AA-C22A41 complying with AAMA 611.

  - Color –Anodized Finish Class I:  AA-C22A42/A44 complying with AAMA 611.  Color:______________

  - Kynar Fluoropolymer Two-Coat System:  (70% PVDF) complying with AAMA 2605.  Color:______________ (3coat and 4 coat available)

  - Powder Coat High-Performance Architectural Coating: comply with AAMA 2604. Color:______________

PART 3- EXECUTION

  - EXAMINATION

- Examine substrates and conditions, with installer present, for compliance with requirements for installation tolerances and other conditions affecting systems performance.

- Proceed with installation only after unsatisfactory conditions have been corrected.

  - PREPARATION

- Metal Protection:  As follows:

  - Where aluminum will contact dissimilar metals, protect against galvanic action by paining contact surfaces with primer or by applying sealant or tape recommended by manufacturer for this purpose.

  - Where aluminum will contact concrete or masonry, protect against corrosion by painting contact surfaces with bituminous paint.

  - Where aluminum will contact pressure-treated wood, separate dissimilar materials by methods recommended by manufacturer.

  - INSTALLATION

- General:  Comply with manufacturer’s written instructions for protecting, handling, and installing components.

- Following manufacturer’s installations instructions and job specific drawings to ensure proper installation.

- Coordinate with installation of vapor barriers and flashing as required to assure that each element of the work performs properly and that combined elements are waterproof and weather tight.  Anchor units securely to supporting structural substrates, adequate to withstand lateral and thermal stresses ass well as inward and outward loading pressures.

  - CLEANING AND PROTECTION

- Clean exposed metal and plastic surfaces according to manufacturer’s instructions during installation.  Touch up damaged metal coatings.

- Final cleaning by others.

END OF SECTION